## Slide 1: Model Calibration & Verification
Using WinSLAMM v10 to Meet Urban Stormwater Management Goals

## Slide 2
Lawn Sheet Flow Sampler: Tipping Bucket for Flow and Cone Splitter for Water Sample
Model Strength – Based on Extensive Field Monitoring Data:
Source Areas – Roofs, Streets, etc.
End of Pipe – Many Land uses
Stormwater Control Practices

## Slide 3
Source Area Sampling

## Slide 4
End of Pipe Monitoring :Mass Balance

## Slide 5
New Bioretention Monitoring Project

## Slide 6
New Source Area Sampling

## Slide 7: Description of Seven Study Areas
SITE | LAND USE | ACRES | FLOW | Conc.
Harper | Residential | 41 | 55 | 32
Monroe | Residential | 232 | 75 | 71
Canterbury | Residential | 964 | 55 | 23
Marquette | Resid/Com. | 288 | 64 | 14
Superior | Commercial | 22 | 91 | 21
Syene Rd. | Industrial | 114 | 108 | 82
Badger Rd. | Maint. Yard | 4 | 40 | 18

## Slide 8
Harper Madison WI: Residential

## Slide 9
Marquette Michigan: Res/Comm. (288 acres)

## Slide 10
End of Pipe Monitoring : Tertiary Sources
Maintenance Yard Madison WI: 4 acres

## Slide 11
Syene Industrial Park, Madison WI: 114 acres

## Slide 12: Measured versus Modeled Runoff, inches
SITE | Number of Events | Measured Runoff | Modeled Runoff | Difference, %
Harper | 55 | 7.3 | 5.3 | -27%
Monroe | 75 | 8.2 | 8.8 | 7%
Canterbury | 55 | 5.4 | 5.9 | 10%
Marquette | 64 | 2.4 | 2.4 | 0% (19%)
Superior | 91 | 19.8 | 20.2 | 2% (-4%)
Syene | 108 | 29.5 | 28.7 | -3% (-8%)
Badger | 40 | 14.9 | 14.3 | -4%

## Slide 14: Type of Pollutants
Suspended Solids
Total Solids
Total Phosphorus
Total Lead
Total Zinc
Total Copper
Dissolved Phosphorus
Dissolved Lead
Dissolved Zinc
Dissolved Copper
Bacteria
Organic Toxicants

## Slide 15
Basic Program Operation
Particulate Solids Loading – Street Dirt Accumulation
Notes: This is an example of street dirt accumulation based upon the coefficients for Commercial Streets. The equation is of the form y = A + Bx + Cx^2, where:
y = loading (lbs/curb-mile)
x = Time (days)
For smooth streets: A = 222, B = 133, and C = -5.29
For intermediate streets: A = 564, B = 133, and C = -5.29
This shows that the streets can hold no more street dirt after about 13 days.
This polynomial was the best answer to fit the data and had some reasonable theoretical basis. Bob Pitt’s dissertation discusses this in detail. Basically, the c coefficient is the cleanest the street can get (minimum observed during sampling accumulation activities), for the street
texture conditions. The A coefficient is the deposition rate (the steepest slope at the beginning of the plot, or the first derivative) and is dependent on land use. The B coefficient represents the amount of material lost to air as fugitive dust. We set this equation to a maximum value, corresponding to measured conditions (the equation would "bend“ back down, otherwise).

## Slide 16
Street dirt washoff and runoff test plot, Toronto
Pitt 1987

## Slide 17: Suspended Solids Concentrations during Washoff Tests
Pitt 1987

## Slide 18
Street Dirt Changes Over Time
Notes: Tab 10: Street Cleaning Control Practices
18
This plot illustrates the output from a section of the previous slide. Note that accumulation does not begin until the actual load on the street is lower than the maximum load for the street.
The paired before/after street cleaning plots are used to determine the loading after street cleaning based on the loading before street cleaning. If the "before" street dirt load is low, the "after" load is
nearly the same, with only a small improvement. If the "before" load is high, the percentage reduction is greater.

## Slide 19: We will cover . . .
WinSLAMM Purpose, History and Unique Features
Model Applications
Small Storm Hydrology
Basic Program Structure and Operation
Treatment Practices
Model Input/Output
Notes: 19

## Slide 20: Basic Program Structure Control Devices
Wet Detention Ponds
Porous Pavement
Street Cleaning
Catchbasin Cleaning
Grass Swales and Grass Filters
Biofiltration/bioretention
Green Roofs
Proprietary Controls (media filters and hydrodynamic devices)
Beneficial Uses

## Slide 21
Full-scale street cleaning tests using conventional and high-energy street cleaners (street dirt loading and washoff monitoring and outfall water quality monitoring)

## Slide 23
Three flow rates: 10, 5, and 2.5 LPS (160, 80, and 40 GPM)
Velocity measurements (Vx, Vy, and Vz)
Five overlying water depths above the sediment: 16, 36, 56, 76, and 96 cm
155 total points per test
30 velocity measurements at each point
Scour of Captured Sediment in
Storm Drain Catchbasin Inlets

## Slide 24: CFD Modeling to Calculate Scour/Design Variations
Used CFD (Fluent 6.2 and Flow 3D) to determine scour from stormwater controls; results being used to expand WinSLAMM analyses after verification with full-scale physical model
This is an example of the effects of the way that water enters a sump on the depth of the water jet and resulting scour
Uncalibrated CFD Model without Air Entrainment
Calibrated CFD Model with Air Entrainment

## Slide 25
Monitored Full-Scale Setup in Tuscaloosa, AL

## Slide 26
Great Lakes
East Coast
South East
Central
North West
South West
National Stormwater Quality Database

## Slide 27
 | Commer. | Indus. | Instit. | Open Space | Resid. | Freeways/Highways | Total by Region
Central | 4 | 2 | 4 | 1 | 5 | 3 | 19
East Coast | 3 | 1 | 1 | 1 | 2 | 3 | 11
Great Lakes (the USGS/DNR files) | 6 | 4 | 4 | 2 | 11 | 4 | 31
Northwest | 2 | 1 | 1 | 1 | 3 | 3 | 11
Southeast | 7 | 2 | 3 | 5 | 8 | 4 | 29
Southwest | 5 | 1 | 1 | 1 | 2 | 3 | 13
Total by Land Use | 27 | 11 | 14 | 11 | 31 | 20 | 114
Number of Standard Land Use Files Used for Each Category

## Slide 29
Current Project Calibrating and Setting up WinSLAMM for US Naval Facilities (15 San Diego, Norfolk, and Puget Sound Bases)

## Slide 30
San Diego naval bases observed vs. calculated loads (p = 0.56)
Virginia naval bases observed vs. calculated loads (p = 0.26)
Washington naval bases observed vs. calculated loads (p = 0.67)
All sites naval bases observed vs. calculated loads (p = 0.44)

## Slide 32
Chart: Total Zn (lbs)
| 3.1488300479999995E-2 | 3.8093327999999997E-3 | 0.89106264000000002 | 9.0165503999999994E-2 | 0.31402475520000001 | 1.0007075519999999 | 1.0396531391999999 | 2.3762419199999999E-2 | 0.78096885984000008 | 2.0962075679999996 | 0.98061575040000004 | 7.0242931200000004E-3 | 1.6345525247999999 | 0.93302352 | 0.325598208 | 2.2654195199999995E-3 | 2.8232939903999998 | 0.42970468319999999 | 0.25159449119999999 | 9.4978665599999998E-2 | 9.6893596799999995E-2 | 4.3754255999999998E-2 | 0.72248429759999999 | 0.24585768479999998 | 0.14528592000000001 | 0.29926148927999996 | 0.48987961152000004 | 5.8410393599999999 | 0.39408924047999994 | 0.86211894911999987 | 3.7586392895999996 | 0.71592358655999999 | 1.0109374704 | 0.77446027776000004 | 1.7724534609599998 | 0.14073259200000002 | 5.3727161279999998E-2 | 3.6903110400000001E-2 | 6.6106559999999995E-7 | 2.0997444E-5 | 10.528277759999998 | 0.86584368 | 6.8920800000000007E-4 | 0.37577962655999991 | 1.1188257599999999E-3 | 3.9011787360000001E-2 | 2.1928008959999995E-2 | 2.2813439999999998E-3 | 0.39647649600000001 | 1.00088352E-2 | 2.5022088000000001E-2 | 0.36772569599999999 | 2.6339040000000001E-2 | 2.3705135999999998E-2 | 7.8753729600000003E-2 | 3.5175815999999999E-2 | 4.2854011200000007E-3 | 2.55213504E-2 | 0.16553222399999998 | 0.41136844319999999
WinSLAMM total Zn mass lbs | 0.1945 | 0.00756 | 0.4775 | 0.9512 | 0.6675 | 2.278 | 1.227 | 0.03552 | 2.936 | 0.4165 | 1.217 | 0.02916 | 3.59 | 0.117 | 0.356 | 0.007163 | 1.18 | 0.6165 | 0.2083 | 0.3262 | 0.3632 | 0.1437 | 1.07 | 0.423 | 0.1456 | 0.2504 | 0.4015 | 5.856 | 0.3596 | 0.7103 | 3.183 | 0.5642 | 1.794 | 0.7194 | 1.467 | 0.4379 | 0.07419 | 0.106 | 1.535e-05 | 0.0001965 | 11.16 | 2.683 | 0.0006395 | 0.4585 | 0.002241 | 0.02544 | 0.08943 | 0.1339 | 0.2399 | 0.03172 | 0.03172 | 0.5325 | 0.03172 | 0.03172 | 0.03172 | 0.09223 | 0.005751 | 0.072 | 0.08883 | 0.1265

## Slide 33
Main features of the naval facilities project included:
Historical monitoring data used for calibration
Many unique surfaces (compacted soil in scrapyards, airfields, piers, etc.)
Field washoff tests for material sources (galvanized metals, roofing, fencing, pallets, gang planks, generators, etc.
Laboratory leaching tests for pipe and tank materials used to supplement the field washoff tests
Expanded WinSLAMM to allow additional paved and non-paved areas having unusual characteristics