## Slide 1: Using WinSLAMM to Predict LID Stormwater Management Impacts and Green Infrastructure Benefits in Combined Sewer Areas
Using WinSLAMM v10 to Meet Urban Stormwater Management Goals

## Slide 2: Description of Cedar Hills Development Cross Plains, WI
Size: 43.2 acres
Pre-development land: corn
Post-development: single family residential
75 single family homes.
Lot sizes: 1/4 to 1/3 acre.
Stormwater outfall to cold water fishery

## Slide 3
Conventional Single-Family Development
LID Single-Family Development

## Slide 4
Drainage Discharge Point

## Slide 5: Cedar Hills LID Development Source Areas
Source: USGS

## Slide 6: Cedar Hills LID Development Percent Runoff Volume by Source Area
Source: USGS

## Slide 7: Cedar Hills LID Development Percent TSS Loads by Source Area
Source: USGS

## Slide 8
Infiltration Basin
Wet Pond
Roof Disconnect
Single Sidewalk
Narrower Streets
Swale Drainage

## Slide 9: Elements of Low Impact Design for Cedar Hills Development
Grass swale road drainage
Single sidewalk

## Slide 10: Elements of Low Impact Design for Cedar Hills Development
WQ Pond & Infiltration Basin
Wet Pond
Infiltration Basin

## Slide 11: WinSLAMM Model Inputs
Source Areas in WinSLAMM:
Conventional
Roof:
Pitched
½ Connected
Silty soil

## Slide 12: WinSLAMM Model Inputs
Source Areas in WinSLAMM:
LID

## Slide 13: WinSLAMM Modeling Results
WinSLAMM Model Comparison of Development Scenarios
100%
100%
100%
95%
95%
83%
95%
95%
78%
61%
56%
55%
8%
3%
3%
0%
10%
20%
30%
40%
50%
60%
70%
80%
90%
100%
Runoff Volume
Annual TSS Load
Annual TP Load
Conventional
+ Swales
Roof & 1 Sidewalk
+ Infiltration Basin
+ Narrow Streets

## Slide 14: WinSLAMM Modeling Results
WinSLAMM Model Comparison of Development Scenarios*
* Annual loadings from 43.2 acre Cedar Hills development

## Slide 15: Evaluating CSO Management Goals through Monitoring and Modeling of Green Infrastructure: Kansas City EPA National Demonstration Project (and some comments from on-going Cincinnati Projects)

## Slide 16: Kansas City’s CSO Challenge
Combined sewer area: 58 mi2
Fully developed
Rainfall: 37 in./yr
36 sewer overflows/yr by rain > 0.6 in; reduce frequency by 65%.
6.4 billion gal overflow/yr, reduce to 1.4 billion gal/yr
Aging wastewater infrastructure
Sewer backups
Poor receiving-water quality

## Slide 17: KC’s Modeling Connections
SUSTAIN-SWMM
Individual LID
Drainage (Transport)
Multi-scale
- Subarea Optimization
KCMO XP-SWMM
- Drainage (Transport)
Design Objectives
WinSLAMM
Land Surface Charact
Drainage (Transport)
Design Options
Stormwater Beneficial Uses
- Multi-scale
Weight of Evidence

## Slide 18
Adjacent Test and Control Watersheds

## Slide 19
Design plan component | Number of this type of stormwater control units in 100 acre test (pilot) area | Device as a % of the drainage area | Average drainage area for each unit (ac) | Total area treated by these devices (ac)
Bioretention | 24 (no curb extensions) | 1.6 | 0.40 | 9.6
 | 28 (with curb extension) | 1.5 | 0.40 | 11.2
 | 5 (shallow) | 1.6 | 0.40 | 2.0
Bioswale | 1 (vegetated swale) | 8.9 | 0.50 | 0.5
Cascade | 5 (terraced bioretention cells in series) | 1.9 | 0.40 | 2.0
Porous sidewalk or pavement | 18 (with underdrains) | 100.0 | 0.015 | 0.3
 | 5 (with underground storage cubes) | 99.9 | 0.015 | 0.1
Rain garden | 64 (no curb extensions) | 2.8 | 0.40 | 25.6
 | 8 (with curb extension) | 1.5 | 0.40 | 3.2
Summary of Constructed Stormwater Controls in Test Area

## Slide 20
Example micro flow and drainage area analysis for a set of stormwater controls in the test area, examining both direct runoff area to biofilters and overflows from upgradient biofilters.

## Slide 22
Chart: Observed Total Area Runoff Quantity (ft3)
| 1818.25932765931 | 2546.1996664482199 | 1249.2317993079 | 20505.3157595066 | 6626.0723825827099 | 34962.077318685799 | 43119.162998849002 | 15514.227549916901 | 30409.9417849981
with controls modeled (1 in/hr) | 3204 | 2034 | 2034 | 21820 | 10260 | 95046 | 9283 | 44473 | 27777
Observed and Modeled Flows in the Test Watershed after Construction of Stormwater Controls

## Slide 23
One of the Kansas City rain gardens being monitored (zero surface discharges during the three years of monitoring; this rain garden is 20% of roof drainage area)

## Slide 24
Chart: Percent of roof area as rain garden
| 0.59259259259259267 | 1.6931216931216913 | 4.2328042328042326 | 8.4656084656084705 | 16.931216931216927 | 33.862433862433861 | 67.724867724867721
% reduction in runoff | 5.0517 | 14.1337 | 32.8546 | 56.6606 | 84.1081 | 96.4533 | 100
WinSLAMM Production Function: Percentage Reductions of Annual Runoff Flows with Rain Gardens

## Slide 25
Chart: Biofilter as a percentage of residential drainage area
| 0.5 | 1 | 2 | 3 | 5 | 8 | 10 | 15 | 20
no underdrain | 50.3963 | 71.4421 | 89.3058 | 95.5239 | 98.7906 | 99.1152 | 100
SmartDrain | 42.5279 | 64.0078 | 84.3852 | 92.4353 | 97.7879 | 98.955 | 99.1353 | 99.2199 | 100
3" drain | 37.4325 | 54.0147 | 73.0253 | 82.8582 | 92.8174 | 97.8503 | 98.9973 | 99.2261 | 100
WinSLAMM Production Functions: Effects of Underdrains in Biofilters on Annual Runoff Reductions (0.5 in/hr subsurface soil infiltration rates)

## Slide 26
WinSLAMM Production Functions: Clogging Potential for Biofilters in the Kansas City Test Area

## Slide 27
1324 76th St. monitoring location, biofilter and adjacent porous concrete sidewalk (one of 10 monitored, plus system)

## Slide 28: Three Study Areas for Green Infrastructure Effectiveness Monitoring in Cincinnati, OH (more than 20 GI demos in the city)

## Slide 29: Available Flow Data at GI Demonstration Projects
About 3 years of high-resolution (5-minute) flow measurements from in-system flow monitors located in combined and separate sewers on or adjacent to several green infrastructure installations

## Slide 30
Determine the base flow and the dry and wet weather flow components from the flow time series in sewer lines
Chart: Flow (MGD)
Trend Analysis

## Slide 31
Chart: 8/10/2012
Chart: 8/10/2012
Prepare individual storm event data summaries that are coordinated with the rain data for each monitoring point, including:
pipe-flow start/end time,
total pipe-flow discharge volume,
total runoff,
peak and average flow discharge rates,
Rv (the ratio of runoff to rainfall depth).
start/end time of rain,
rain duration,
antecedent dry days,
total rain,
peak and average rain intensity,

## Slide 32: Cincinnati State Technical College
Level spreaders and biofilters

## Slide 33: Cincinnati State Technical College Watershed Analysis

## Slide 34: Cincinnati State College (southern drainage with extensive bioinfiltration and rain gardens)
Kruskal-Wallis One Way Analysis of Variance on Ranks test
post-hoc comparison test (Tukey’s test)
Rv values for different study periods for Cincinnati State College separate sewer system
Notes: At this study area, the statistical tests indicate that the “after” construction flows are much less than the “before” and “during” construction flows. This supports the hypothesis that the flows being discharged from areas with GI stormwater controls are much less than would occur if the GI stormwater controls were not present. Since a monitored area with “no stormwater controls” is not available for this study area, the “before” construction runoff and rainfall data will be used to calibrate WinSLAMM. The calibrated WinSLAMM will be used to model GI stormwater controls in order to predict performance of control options for varying conditions. Then the observed event summary statistics will be compared with the predicted runoff responses from WinSLAMM model to account for varying rain conditions during the different monitoring periods.

## Slide 35
Cincinnati Zoo
Notes: The Cincinnati Zoo’s objective is to have no site runoff during a 50-year storm event at the African Savannah and main entry areas. For this, the African Savannah will have different types of green infrastructure controls, including enhanced turf/vegetation, permeable pavers, and an underground rainwater harvesting storage system. One of the objectives of the stormwater control project in the African Savannah area is to disconnect the existing storm sewer and roof leader system, which currently discharges into the combined sewer. Stormwater runoff and roof drainage will be collected and redirected to the rainwater harvesting system (RHS). Approximately 180,000 square feet of enhanced turf grass and permeable walkways will replace the existing impervious parking lot. The RWH system has a capacity of 15,975 cubic feet and the collected water will be reused for on-site irrigation for outdoor zoo water features.
The main entry area has 30,760 square feet of pervious pavers, and a 10,000 gallon storage tank to collect runoff from 11,700 square feet of rooftop for reuse for irrigation of landscaped areas. Figure 3-17 illustrates the location of GI stormwater controls at the Cincinnati Zoo.

## Slide 36: 176 events monitored after construction
Chart: Main entrance of the Cincinnati zoo - Manhole 338162022
Cincinnati Zoo – Main Entrance with Extensive Paver Block Use (only about 10% of the rain resulted in runoff for this “paved” area)

## Slide 37: African Savannah at Cincinnati Zoo
Kruskal-Wallis One Way Analysis of Variance on Ranks of Rv Values
Group N Missing Median 25% 75%
Before 111 4 0.41 0.23 0.62
During 15 0 0.52 0.23 0.80
After 40 0 0.13 0.044 0.25
There is a statistically significant difference (P = <0.001)
All Pairwise Multiple Comparison Procedures (Dunn's Method):
Comparison P<0.05
During vs After Yes
During vs Before No
Before vs After Yes

## Slide 38: Clark Montessori High School
Rain garden
Porous Conc. Pavement
MH: 42407002

## Slide 39: Clark Montessori High School
Grouping Information Using Tukey Method for Rv Values
N Mean Grouping
Before & During 127 0.29 A
After 39 0.23 B

## Slide 40: Preliminary Performance from Cincinnati Monitoring at Green Infrastructure Sites
Location | Runoff Volume Reduction (%) Compared to Pre-Construction Data
Cincinnati State College – Southern Area (bioinfiltration and rain gardens) | 80
Cincinnati Zoo – Main Entrance (extensive paver blocks) | Average Rv values after construction: 0.1 (compared to about 0.8 for conventional pavement in area)
Cincinnati Zoo – African Savannah (rainwater harvesting system and pavement removal) | 70
Clark Montessori High School (green roofs and parking lot biofilters on small portion of watershed) | 21

## Slide 41: Conclusions and Recommendations for Flow Monitoring for Green Infrastructure Performance
Monitor both test and control areas both before and after construction of stormwater controls, if possible, for the greatest reliability (to account for typical year-to-year rainfall variations and to detect sensor problems early).
Test areas should have most of their flows treated by the control practices to maximize measurable reductions.
  Any untreated upgradient areas should be very small in comparison to the test areas. Difficult to subtract two large numbers (each having measurement errors and other sources of variability), such as above and down gradient monitoring stations, and have confidence on the targeted flows.

## Slide 42: Conclusions and Recommendations for Flow Monitoring for Green Infrastructure Performance (Cont.)
Most monitored flows from common rains may only result in shallow depths in the sewerage, a flow condition that is difficult to accurately monitor.
Flow sensors may fail more often than expected.
Costs of flow monitoring is small compared to green infrastructure investment.
  Use redundant sensors, such as an area-velocity sensor (or bubbler) in addition to an acoustic depth sensor mounted on the crown.
  Calibrate the flow sensors at the beginning and periodically throughout the project period.
  Review flow data frequently and completely to identify sensor failures or other issues.
  Supplement the flow sensors with adequate numbers and placement of rain gages in the watersheds.

## Slide 43: Conclusions and Recommendations for Flow Monitoring for Green Infrastructure Performance (Cont.)
Monitor sufficient numbers of events to have statistically valid results for the performance expectations.
  As an example, with a COV of 1 (a typical value for stormwater), 50 pairs of samples would enable differences of about 50% or greater to be detected with 95% confidence and 80% power.
  It is very difficult to detect small differences with suitable confidence and power (the reason why most of the runoff needs to be treated).